Medium C9

(Modified Shoot Induction (SI) Media from Clough Lab)

Prepared by:

Date:

| Ingredients | Amount | Actual |
| --- | --- | --- |
| 10X Major Salts – Silver Fridge | 100 ml/L |  |
| 100X B5 Minor – Silver Fridge – Big Bottle | 10 ml/L |  |
| 100X B5 Minor – Silver Fridge - Small Bottle | 2.5 ml/L |  |
| 10X IRON from C5 – White fridge | 100 ml/L |  |
| MES – Cabinet 4 | .59 g/L |  |
| 1000X Stock TDZ – Silver Fridge | 1ml (0.022 mg/L) |  |
| Sucrose – Cabinet 4 | 30 g/L |  |
| Agar – Cabinet 4 | 6 g/L |  |
| BAP – Silver Fridge - After Autoclave | 2.00 ml/L |  |
| 1000X B5 Vitamins – Silver Fridge - Gamborg’s - After Autoclave | 1ml/L |  |

*Wear protective gloves

Mixing Instructions:

- In a 1000 or 1500 ml beaker: Add 100 ml B5 Major, 100 ml IRON, 10 ml B5 Minor.

- Pipet 2.5 ml B5 Minor, add stir bar and turn on stirrer.

- Pipet .59 g MES

- Add 30 g Sucrose (use ddH20 to squirt excess from weigh boat)

- Transfer mixture to 1000 ml graduated cylinder and bring to 1000 ml with ddWater. Transfer back to beaker.

- Using pH meter: Remove indicator rod from storage solution. Place beaker on platform. Turn on stirrer. Rinse off the indicator rod with ddWater into a different beaker, pat dry with Kimwipe and remove small plug before placing in mixture. Use 10 N NaOH to adjust pH to just under 5.7, adding ONE drop is enough. Fine tune pH with 1 N NaOH (couple drops).

- Added  ___ µL of   _____________  to reach pH of 5.7

- Turn off stirrer. Rinse rod with ddWater. Pat dry. Store in storage solution.

- Divide mixture into two 500 ml bottles. Use two 1L sterile glass bottles.

- Put stir bars in bottles. Turn on stirrer.

- Add 6 g/L Agar

- Close cap very loosely and cover with foil. Carry to Autoclave room in Nalgene tray.

- Autoclave medium

Autoclave instructions:

- Cover caps with foil

- Place autoclave tape on caps

- Ensure caps are very loose

- Place bottles in autoclave tubs

- Turn lever on the right side of autoclave parallel to the pipe.

- Remove gloves. Turn wheel to shut door. Press LIQUIDS button to select cycle.

- Autoclave bottles for about 45 minutes

- To remove, open door slowly. Set bottles in a bucket with water. Stir for about 10 min. This should help cooling the media.

After Autoclave Instructions:

- After media has cooled, take bottles to hood.

- Spray down gloves and bottles with ethanol.

- Add 1 ml/L B-5 Vitamins and 2.00 ml/L BAP.

- Stir for about 3 minutes.

- Take bottles back to hood and spray down with ethanol.

- Add media to Petri dishes

- Keep media under hood overnight to cool and settle.

Notes: