Medium D1

(Singh)

Prepared by:

Date:

| Ingredients | Amount | Actual |
| --- | --- | --- |
| MS Salts – Murashiga & Skoog Small white bottle. Big fridge. | 4.33 g/L |  |
| Glycine Clear bottle. White fridge. | 2 mg/L |  |
| B-5 Vitamins - Gamborg’s Vitamin 100x White bottle. Big fridge. | 1 ml/L |  |
| Sucrose Cabinet 4 | 10 g/L |  |
| Courmarin White fridge. | 2 ml/L |  |
| Agar Cabinet 4 | 6 g/L |  |
| pH | 5.7 |  |

*Wear protective gloves

Mixing Instructions:

- In a 1000 ml beaker: Add 900 mL double distilled water. Add stir bar and turn on stirrer.

- Add MS Salts, Sucrose, Coumarin (use pipet)

- Transfer mixture to 1000ml graduated cylinder and bring to 1000ml with ddWater. Transfer back to beaker.

- Using pH meter: Remove indicator rod from storage solution. Place beaker on platform. Turn on stirrer. Rinse off the indicator rod with ddWater into a different beaker, pat dry with Kimwipe and remove small plug before placing in mixture. Use 10 N NaOH to adjust pH to just under 5.7, adding ONE drop is enough. Fine tune pH with 1 N NaOH (couple drops).

- Added  ___ µL of   _____________  to reach pH of 5.7

- Turn off stirrer. Rinse rod with ddWater. Pat dry. Store in storage solution.

- Divide mixture into two 500 ml bottles. Use two 1L sterile glass bottles.

- Put stir bars in bottles. Turn on stirrer.

- Add Agar

- Close cap very loosely and cover with foil. Carry to Autoclave room in Nalgene tray.

- Autoclave medium

Autoclave instructions:

- Cover caps with foil

- Place autoclave tape on caps

- Ensure caps are very loose

- Place bottles in autoclave tubs

- Turn lever on the right side of autoclave parallel to the pipe.

- Remove gloves. Turn wheel to shut door. Press LIQUIDS button to select cycle.

- Autoclave bottles for about 45 minutes

- To remove, open door slowly. Set bottles in a bucket with water. Stir for about 10 min. This should help cooling the media.

After Autoclave Instructions:

- After media has cooled, take bottles to hood.

- Spray down gloves and bottles with ethanol. Add B-5 Vitamins.

- Stir for about 3 minutes.

- Take bottles back to hood and spray down with ethanol.

- Add media to phytaplates, about 50-100 ml per plate.

- Keep media under hood overnight to cool and settle.

Notes: