Germination Medium (GM)

Prepared by:_____________

Date:_____________

| Ingredients | Volume | Actual amt added |
| --- | --- | --- |
|  | 1 L | 2 L | 4 L | 8 L |  |
| 10X B5 Major (1X final) 4°C fridge | 100 ml | 200ml | 400 ml | 800ml |  |
| 100x B5 Minor (1X final) 4°C fridge | 10ml | 20ml | 40ml | 80ml |  |
| 100x FeSO4/NaEDTA (MSIII Iron) (1X final) 4°C fridge | 10ml | 20ml | 40ml | 80ml |  |
| MES (3mM final) Cabinet (Sigma cat# M8250 (1kg); M2933 (100g)) | 0.59g | 1.18g | 2.36g | 4.72g |  |
| Sucrose (2%) Cabinet | 20g | 40g | 80g | 160g |  |
| pH 5.8 pH= |
| Agar Cabinet (Sigma cat# A-1296) | 8g | 16g | 32g | 64g |  |
| Final volume | 990ml | 1980ml | 3960ml | 7920ml |  |

Wear protective gloves!

Mixing Instructions

- In an appropriate beaker, add B5 Major, B5 Minor, FeSO4/NaEDTA (also called MSIII Iron).

- Place stirring rod in beaker and turn on stirrer.

- Fill up beaker to half of final volume with ddH2O.  Add MES and sucrose.  Bring solution to appropriate final volume using a measuring cylinder.

- Using pH meter: Remove indicator rod from storage solution and calibrate.  Place beaker on platform.  Turn on stirrer.  Rinse of indicator rod with ddH2O into a different beaker, pat dry with Kimwipe, and remove small plug (if applicable) before placing in mixture.

- Adjust pH to 5.8

- Turn off stirrer.  Rinse rod with ddH2O and pat dry.  Store in buffer solution.

- Transfer the solution into appropriate sized bottles.  Add agar.

- Autoclave for 20 minutes (make sure cap is loose!)

- Place hot medium in 50C water bath for at least 20 minutes to cool.

- When the bottle is cool enough to handle, add B5 vitamins (100x) into solution

- Use 100x25mm Petri dishes (thick dishes)

GM add-ins

| Ingredients | Volume |
| --- | --- |
|  | 1L | 2L | 4L | 8L |
| 100X B5 vitamins* filter sterilized | 10ml | 20ml | 40ml | 80ml |

*Prepared by diluting B5 vitamins (Gamborg’s Vitamin solution) – Sigma cat# G1019

Add directly into autoclaved media.  Mix well before pouring.